{"text_format":"3","workbook":"xls","n_sheets":3,"sheets":["Sheet1","Sheet2","Sheet3"],"not_rendered":{"external_links":1,"defined_names":1},"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"Sheet1","index":0,"n_rows":52,"n_cols":14,"rows_kept":52,"merged":[[0,0,0,13],[1,0,1,13],[2,0,4,0],[2,1,4,1],[2,2,4,2],[2,3,4,3],[2,12,4,12],[2,13,4,13]],"flags":["formulas_cached_only"]}
["10月上半月管网水半月检常规项目检验汇总表"]
["委托单位名称：淄博市自来水有限责任公司                                                                               检测单位：淄博安瑞水质检测有限责任公司                                                                                                                                                                                                                                                                                               "]
["序号","采样日期","采样地点","样品编号","菌落总数","总大肠菌群","色度","浑浊度","臭和味","肉眼可见物","二氧化氯","高锰酸盐指数（以O2计）","报告日期","检测人员"]
[{"$nulls":4},"CFU/mL","CFU/100mL","度","NTU","/","/","mg/L","mg/L"]
[{"$nulls":4},"≤100","不应检出","≤15","≤1","无异臭、异味","无","出厂水和末梢水中限值0.8，出厂水中余量≥0.1，末梢水中余量 ≥0.02","≤3"]
[1,"2024.10.08","锦绣花城社区","20241008-829",21,"未检出","<5","0.18","无","无",0.05,1.55,"2024.10.10"," 王晓芳"]
[2,"2024.10.08","市自来水公司铝城营业所","20241008-830",16,"未检出","<5","0.34","无","无",0.05,"/","2024.10.10"," 王晓芳"]
[3,"2024.10.08","经开区后南定村卫生室","20241008-831",5,"未检出","<5","0.31","无","无",0.02,"/","2024.10.10"," 王晓芳"]
[4,"2024.10.08","市自来水公司南定营销服务中心","20241008-832",3,"未检出","<5","0.29","无","无",0.03,1.51,"2024.10.10"," 王晓芳"]
[5,"2024.10.08","张南路101号中石油加油站","20241008-833",5,"未检出","<5","0.17","无","无",0.04,"/","2024.10.10"," 王晓芳"]
[6,"2024.10.08","西苑社区","20241008-834",6,"未检出","<5","0.32","无","无",0.05,"/","2024.10.10"," 王晓芳"]
[7,"2024.10.09","高新区金晶大道汇驰奔驰4S店","20241009-835",8,"未检出","<5","0.19","无","无",0.04,"/","2024.10.11"," 王晓芳"]
[8,"2024.10.09","金都花园社区","20241009-836",2,"未检出","<5","0.21","无","无",0.02,1.48,"2024.10.11"," 王晓芳"]
[9,"2024.10.09","外商居住区","20241009-837",13,"未检出","<5","0.29","无","无",0.03,"/","2024.10.11"," 王晓芳"]
[10,"2024.10.09","星悦城社区","20241009-838",11,"未检出","<5","0.22","无","无",0.04,1.67,"2024.10.11"," 王晓芳"]
[11,"2024.10.10","淄博市委","20241010-839","未检出","未检出","<5","0.20","无","无",0.05,"/","2024.10.12"," 王晓芳"]
[12,"2024.10.10","张店区军休所","20241010-840",3,"未检出","<5","0.25","无","无",0.04,"/","2024.10.12"," 王晓芳"]
[13,"2024.10.10","五里桥生活区","20241010-841",7,"未检出","<5","0.27","无","无",0.03,"/","2024.10.12"," 王晓芳"]
[14,"2024.10.10","张店八中","20241010-842","未检出","未检出","<5","0.23","无","无",0.04,"/","2024.10.12"," 王晓芳"]
[15,"2024.10.10","积家村党群服务中心","20241010-843",35,"未检出","<5","0.31","无","无",0.03,1.44,"2024.10.12"," 王晓芳"]
[16,"2024.10.10","明德苑社区","20241010-844",6,"未检出","<5","0.28","无","无",0.04,"/","2024.10.12"," 王晓芳"]
[17,"2024.10.10","淄博市图书馆","20241010-845",7,"未检出","<5","0.30","无","无",0.03,"/","2024.10.12"," 王晓芳"]
[18,"2024.10.11","恒嘉园社区","20241011-846",3,"未检出","<5","0.23","无","无",0.04,"/","2024.10.13"," 王晓芳"]
[19,"2024.10.11","人民东路小学","20241011-847",5,"未检出","<5","0.20","无","无",0.04,"/","2024.10.13"," 王晓芳"]
[20,"2024.10.11","张店区保安公司","20241011-848","未检出","未检出","<5","0.22","无","无",0.03,"/","2024.10.13"," 王晓芳"]
[21,"2024.10.11","润德实业公司","20241011-849",2,"未检出","<5","0.19","无","无",0.05,"/","2024.10.13"," 王晓芳"]
[22,"2024.10.11","行政执法局湖田中队","20241011-850",1,"未检出","<5","0.21","无","无",0.03,"/","2024.10.13"," 王晓芳"]
[23,"2024.10.11","淄博市公交东站","20241011-851",9,"未检出","<5","0.17","无","无",0.03,"/","2024.10.13"," 王晓芳"]
[24,"2024.10.11","洪三社区","20241011-852",5,"未检出","<5","0.33","无","无",0.02,1.52,"2024.10.13"," 王晓芳"]
[25,"2024.10.14","新村西路140号原市水资办","20241014-853",2,"未检出","<5",0.31,"无","无",0.03,"/","2024.10.16"," 王晓芳"]
[26,"2024.10.14","张店区疾控中心","20241014-854",17,"未检出","<5","0.28","无","无",0.04,"/","2024.10.16"," 王晓芳"]
[27,"2024.10.14","淄博市政务中心","20241014-855","未检出","未检出","<5","0.22","无","无",0.05,"/","2024.10.16"," 王晓芳"]
[28,"2024.10.14","盛世康城社区","20241014-856",6,"未检出","<5","0.25","无","无",0.03,"/","2024.10.16"," 王晓芳"]
[29,"2024.10.15","淄博市工商局","20241015-857",26,"未检出","<5","0.27","无","无",0.03,"/","2024.10.17"," 王晓芳"]
[30,"2024.10.15","科技苑物业","20241015-858",7,"未检出","<5","0.20","无","无",0.04,"/","2024.10.17"," 王晓芳"]
[31,"2024.10.15","瑞丰苑社区","20241015-859",9,"未检出","<5","0.27","无","无",0.04,1.46,"2024.10.17"," 王晓芳"]
[32,"2024.10.15","市自来水公司新区营业所","20241015-860",17,"未检出","<5","0.31","无","无",0.03,"/","2024.10.17"," 王晓芳"]
[33,"2024.10.15","祥瑞花园社区","20241015-861",1,"未检出","<5","0.28","无","无",0.05,"/","2024.10.17"," 王晓芳"]
[34,"2024.10.15","世纪花园社区","20241015-862",1,"未检出","<5","0.30","无","无",0.04,"/","2024.10.17"," 王晓芳"]
[35,"2024.10.15","颐臻园社区","20241015-863",5,"未检出","<5","0.23","无","无",0.03,"/","2024.10.17"," 王晓芳"]
[36,"2024.10.16","淄博市体育馆","20241016-864",5,"未检出","<5","0.28","无","无",0.05,"/","2024.10.18"," 王晓芳"]
[37,"2024.10.16","福源汇社区","20241016-865",7,"未检出","<5","0.23","无","无",0.05,"/","2024.10.18"," 王晓芳"]
[38,"2024.10.16","孝妇河湿地公园喷泉广场","20241016-866",3,"未检出","<5","0.27","无","无",0.03,1.57,"2024.10.18"," 王晓芳"]
[39,"2024.10.16","石家社区","20241016-867",9,"未检出","<5","0.31","无","无",0.04,1.48,"2024.10.18"," 王晓芳"]
[40,"2024.10.16","山泉路启星比亚迪4S店","20241016-868",11,"未检出","<5","0.20","无","无",0.03,"/","2024.10.18"," 王晓芳"]
[41,"2024.10.16","福瑞家园社区","20241016-869",5,"未检出","<5","0.24","无","无",0.03,1.61,"2024.10.18"," 王晓芳"]
[42,"2024.10.17","天勤苑社区","20241017-870",21,"未检出","<5","0.32","无","无",0.05,1.81,"2024.10.19"," 王晓芳"]
[43,"2024.10.17","市自来水开发区营业所","20241017-871",9,"未检出","<5","0.30","无","无",0.04,"/","2024.10.19"," 王晓芳"]
[44,"2024.10.17","淄博市十一中","20241017-872",5,"未检出","<5","0.24","无","无",0.05,"/","2024.10.19"," 王晓芳"]
[45,"2024.10.17","丽莎会议中心","20241017-873",17,"未检出","<5","0.33","无","无",0.03,"/","2024.10.19"," 王晓芳"]
[46,"2024.10.17","华侨城警务室","20241017-874",9,"未检出","<5","0.31","无","无",0.04,"/","2024.10.19"," 王晓芳"]
[null,null,"以下空白"]

{"sheet":"Sheet2","index":1,"n_rows":0,"n_cols":0,"rows_kept":0,"flags":["formulas_cached_only"]}

{"sheet":"Sheet3","index":2,"n_rows":0,"n_cols":0,"rows_kept":0,"flags":["formulas_cached_only"]}